RewardZoneTest code is used for tracking animal behaviour/position as well as deliver reward (two ends of the track) based on ROI

Basic Workflow

1. Make sure curtain is off.

2. Start workflow

3. Press Shift + s to start acquisition (camera input)

4. After waiting for roughly 3 seconds (background subtraction), start Shift + L for logging

4. Then, put the animal in.

5. Shift + i to enable reward trigger based on ROI. Reward will not be delivered by ROI trigger until Shift + i to make sure experimenter will not trigger reward.

Additional functions:

Press N to enable manual delivery of L reward

Press M to enable manual delivery of R reward

Need to specify Delay time for Pump trigger

- 5 seconds for example mean when ROI is triggered, reward is delivered after 5 seconds.